# Building the App with Swift

## Will Need

- Xcode

- Swift 5.9 or higher

- A real iOS device (Bluetooth functionality cannot be fully tested on the simulator)

## Building and Running

- Download the project folder containing all Swift files (FallDetectionAppApp.swift, BluetoothViewModel.swift, ContentView1.swift, MainTabView.swift, etc.).

- Open the .xcodeproj file in Xcode.

- Connect iPhone via USB and select it as the build target.

- Configure Signing & Capabilities:

  - Go to the Signing & Capabilities tab.

  - Set your personal team for code signing.

  - Ensure Bluetooth Permissions (NSBluetoothAlwaysUsageDescription) are added to Info.plist.

Build and Run the app onto your device.

# App Use Documentation

## Setup

- Turn on shoe device and ensure Bluetooth is enabled on your iPhone.

- Open the Fall Detection App.

  - The app will automatically search for and connect to the device.

  - The connection status at the top will say "Connected to ESP32" when successful.

## Main Features (MainTabView.swift)

### Home Tab (ContentView1.swift)

- Live Pressure Heatmap (HeatmapView.swift): Displays real-time foot pressure distribution over a shoe outline.

- Fall Detection Alerts (Test_Pressure_Arduino.ino - under Hardware files; BluetoothViewModel.swift): If a dangerous lean is detected, a warning message appears over the heatmap.

### Settings Tab (SettingsView.swift)

- Calibrate Sensors (CalibrationView.swift):

  - Tap "Calibrate Sensors" to go to the Calibration Page. Tap “Start Calibration”

  - Stand still for 5 seconds while calibration completes.

- Test Motors ():

  - Tap "Test Front Motor" or "Test Back Motor" to activate motor vibration.

  - Tap "Turn off Motor" to stop vibration.

- Adjust Lean Sensitivity:

  - Use sliders to set how sensitive the app is to forward or backward leans.

  - Tap "Apply" to update thresholds.

- Battery Status:

  - Displays the current battery level of the connected device.